The purpose of this Isolation Permission to Work (IPTW) is to ensure that adequate controls are implemented and affected stakeholders are notified in accordance with PRO3.1-06 Isolation. All work is to comply with relevant legislative and University of Adelaide’s requirements. Note: 2 days’ notice required for dry fire systems isolation, 5 days’ notice required for wet fire systems isolations and 10 days’ notice required for services isolation

| Isolation Permission to Work (PTW) Number | (UoA to complete) |
| --- | --- |

In the event of an Emergency, all PTW’s are immediately suspended. All persons must assemble at the nearest nominated assembly point. The PTW must be re–authorised (Signed) by the I&TS PTW Issuer before work resumes. Fire isolations are not to permitted to remain overnight without written authorisation

| 1.CONTRACTOR DETAILS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company undertaking the work: |  |  |  |  |  |  |  |  |  |
| Person undertaking the work & phone number: |  |  |  | Supervisor name & phone number: |  |  |  |  |  |
| Principal Contractor Company: |  |  |  |  |  |  |  |  |  |
| Principal Contractor Contact name & phone number: |  |  |  |  |  |  |  |  |  |
| 2.LOCATION |  |  |  |  |  |  |  |  |  |
| Location of Work: (inc. Campus/Building/Room: |  |  |  | Level and room number |  |  |  |  |  |
| Planned Work Activity: |  |  |  |  |  |  |  |  |  |
| Estimated Duration of the PTW: | Date from: |  | Time: |  | Date to: |  |  | Time: |  |

| 3.ISOLATION DETAILS |  |  |
| --- | --- | --- |
| Isolation type |  | Other: |
| Document areas and equipment inclusive of research activities that will be affected by the isolation |  |  |
| Document systems, circuits or fire system zones that require isolation (attach relevant documentation) |  |  |

| 4.REQUIREMENTS FOR SWMS |  |  |  |  |
| --- | --- | --- | --- | --- |
| The person in direct control acknowledges that the items related to PTW (below) have been considered and included in the attached SWMS/JSA. (General requirements for SWMS via 3.2-0F09 Contractor SWMS Checklist) All items must be ticked or marked N/A ( or N/A) |  |  |  |  |
| General |  | or N/A |  | or N/A |
| Will the Isolation affect stakeholders If yes () who is responsible for consultation and notification? |  |  | Lock out/Tag out procedures are in place for isolation of affected plant & infrastructure |  |
|  | Name: |  | Plant and equipment to be used is identified Pre start inspections & PPE must be referenced as controls |  |
|  | Name: |  | Process in place for the safe reinstatement of isolated areas |  |
| Electrical |  |  | Fire Safety Systems Isolation requirements |  |
| Electrical infrastructure & associated hazards are identified including area clear of wet conditions, combustible and flammable materials |  |  | Daily reinstatement of fire safety systems is required? |  |
| For work on live circuits a risk assessment has been completed justifying the need for the work and there is a trained safety observer present at all times who is competent in low voltage rescue. |  |  | Extent of fire safety system isolation has been identified and emergency controls considered/implemented |  |

| 5.PTW REQUEST (PTW Holder) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| This acknowledgement signifies a formal request to commence activities involving one or more specified high-risk works. I request this PTW be acknowledged and registered by the relevant University of Adelaide PTW Issuer. As the person requesting this PTW, I hereby certify that: |  |  |  |  |  |  |
|  | ☐ | I shall implement all planned and necessary controls to ensure the health and safety of all persons who may be affected by the activities. |  |  |  |  |
|  | ☐ | I shall monitor the identified hazards and control strategies throughout the work activities. |  |  |  |  |
| PTW Holder Name: |  |  | Signature: |  | Date: Time: |  |

| Isolation Permission to Work (PTW) Number | (UoA to complete) |
| --- | --- |

| 6. PRINCIPAL CONTRACTOR/ PCBU CONTRACTING THE WORK TO THE GPTW HOLDER |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| As the Principal Contractor (where someone other than the University has engaged the PTW Holder)/ PCBU (where the University has engaged the PTW Holder) commissioning the work, I have reviewed the attached SWMS/JSA (and kept a copy) for the work covered by this GPTW |  |  |  |  |  |
| PCBU/Principal Contractor Rep: |  | Signature: |  | Date: Time: |  |

| 7. STAKEHOLDER NOTIFICATION (authorised person to complete) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Stakeholder Affected by the isolation |  |  |  |  |  |  |
| Areas Notified | Faculty/School |  | Campus Services |  | Security |  |
|  | Legal and Risk |  | Fire Wardens (s) |  | Other |  |

| 8. I&TS PTW ISSUER |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| The above criteria have been addressed and the work is authorised to commence in accordance with the SWMS / JSA and identified control measures. As the I&TS Permit Issuer, I hereby acknowledge that: |  |  |  |  |  |  |
| ☐√ | I have allocated this PTW a number and scanned to the PTW register in the relevant area. |  |  |  |  |  |
| PTW Issuer |  | UoA | Signature: |  | Date: Time: |  |
| 9.CLOSE OUT |  |  |  |  |  |  |
| As the PTW Holder, I hereby acknowledge that: |  |  |  |  |  |  |
| ☐ | All Isolations have been removed and/or reinstated, all workers have vacated the space and the area has been left in a safe condition. Plans/Drawings are updated and provided to UoA representative including new infrastructure and disconnected services |  |  |  |  |  |
| PTW Holder |  |  | Signature: |  | Date: Time: |  |
| As the PTW Issuer, I authorise the closure of this PTW and will scan it to the PTW register in my area: |  |  |  |  |  |  |
| PTW Issuer |  |  | Signature: |  | Date: |  |
| For further information on completing this isolation PTW refer to Section 3.1 Controlling HSW Risks PRO3.1-06 Isolation |  |  |  |  |  |  |

Original – Retained by PTW Holder		Copy – Retained by PTW Issuer