Information Sheet

ASBESTOS

Frequently asked questions

What is the difference between friable and non-friable asbestos?

Non-friable means that the asbestos fibres included in the product are held within a solid matrix (e.g. cement in asbestos cement sheeting) and are less likely to become airborne unless the product is damaged.  Asbestos fences, roofs and asbestos cement sheeting are examples of non-friable asbestos products.

Friable asbestos products contain loosely packed asbestos fibres and can be crushed easily in the hand.  Examples of friable asbestos products include insulating rope on old oven doors, asbestos insulation and asbestos fibre blankets.

How much asbestos can I remove without a licence?

Up to 10m2 of asbestos containing material (ACM) or other non friable asbestos containing material.

Up to 0.5m2 of friable asbestos containing material but it must be removed according to the National Code of Practice for the Safe Removal of Asbestos and in consultation with Campus Services.  All staff involved in the removal of asbestos must be trained and competent.

This document is available via a link on the SafeWork SA website to the SafeWork Australia website.

- Code of practice for the Management and Control of Asbestos in Workplaces [NOHSC 2018 (2005)]

- Code of Practice for the Safe Removal of Asbestos 2nd Edition [NOHSC:2002(2005)]

How do I know if a material contains asbestos?

Generally, it is not possible to determine whether a material contains asbestos simply by looking at it.  The only way to be sure it contains asbestos is to get a sample analysed by a laboratory.

Who tests samples for asbestos content and conducts asbestos air monitoring and removal work?

The University engages a Service Provider to undertake this activity.

Please contact the Campus Services, Maintenance Services at your Campus.

North Terrace ext 34008, Waite Campus ext 37217, Roseworthy ext 37937, Thebarton ext 34471.

Who needs to have an asbestos register?

Campus Services maintain the central register for the University.

What if you think there may be some asbestos in an area that is inaccessible?

Building owners are not required to dismantle parts of the building or plant to locate asbestos.  The OHSW Regulations are aimed at identifying any significant risk to persons.  If there are plans to demolish or alter these areas, an assessment would need to be undertaken to check for asbestos before starting work.

What are the health effects caused by exposure to asbestos?

Inhalation of asbestos fibres can cause the following diseases, pleural plaques, pleural thickening, asbestosis, lung cancer,

mesothelioma.  Generally a large, on-going exposure to asbestos fibres is required before an asbestos related disease will develop. It is unusual to develop an asbestos-related disease from a single exposure.

For more information please read the Public health information http://www.dh.sa.gov.au/pehs/PDF-files/ph-factsheet-asbestos.pdf

What is the process if you think you have possibly disturbed asbestos?

Cease work immediately and ensure that other people working in the area are notified of a possible risk (or notify the Supervisor to pass this information on to others).  Contact the Campus Services Maintenance Service Centre, who will check the asbestos register.  If not registered, then the University’s licensed asbestos service provider will be contacted to undertake an analysis and/or air monitoring as applicable.  If confirmed, then corrective action will be taken to eliminate the risk of exposure and the asbestos register updated accordingly.

Is asbestos exposure a Notifiable Occurrence under Division 6.6 of the OHSW Regulations?

All exposures require an investigation to be undertaken by the School/Branch in consultation with the HSW Team and Campus Services.  This will ensure that immediate and appropriate short term control measures are arranged.  The Manager HSW is responsible for notifying SafeWork SA where required.  All persons who have been exposed are to follow the process outlined in Incident, near miss reporting and investigation.

FURTHER INFORMATION

Please contact your HSW Division/Faculty Manager