# Appendix A (Page 1 of 6)

|  |
| --- |
| **SCHEDULE OF PROGRAMMABLE EVENTS (SPE)****A GUIDE TO ACTIVITIES REQUIRED BY WHS LEGISLATION OR HSW HANDBOOK** |

**NOTE: This guide is not exhaustive. The Faculty/Division is expected to consider the activity base and determine whether there are requirements beyond this guide.**

i.e. There may be additional specific requirements outlined in [Legislation](https://www.legislation.sa.gov.au/LZ/C/A/WORK%20HEALTH%20AND%20SAFETY%20ACT%202012.aspx), [Approved Codes of Practice](https://www.safework.sa.gov.au/workplaces/codes-of-practice) and [Australian Standards](https://subscriptions-techstreet-com.proxy.library.adelaide.edu.au/) (AS) that also need to be captured in your HSW SPE where applicable.

Guidance is provided (i.e. the shaded column) as to where the following planned activities might be relevant.

**Remember:** If you have any other system within your Faculty/Division/School/Branch which schedules and monitors these activities (i.e. where there may be duplication of documentation) then you are not required to manage these through the SPE. However, you must ensure that the “other system” is appropriately monitored to ensure that the activities are being completed and identify on your SPE the process/system being used for audit purposes/reference.

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity to be scheduled** | **Relevant to the following Faculty/Division/School/Branch** | **Frequency** | **WHS Legislation** |
| **Emergency contingency arrangements are tested** |  |  | [WHS Regs 2012 (SA)](https://www.safework.sa.gov.au/show_page.jsp?id=112257) [Section 37, 40, 43, 74 and 80] and [AS 1851](https://subscriptions-techstreet-com.proxy.library.adelaide.edu.au/) Maintenance of Fire Protection Systems and Equipment – Section 19 “Emergency Evacuation Procedures**”**.[Approved Code of Practice “First Aid in the Workplace](https://www.safework.sa.gov.au/workplaces/codes-of-practice)” [Section 4][Approved Code of Practice “Managing the Risks of Hazardous Chemicals in the Workplace”](https://www.safework.sa.gov.au/workplaces/codes-of-practice) [Section 6][Approved Code of Practice “Managing the Risks of Falls in the Workplace](https://www.safework.sa.gov.au/workplaces/codes-of-practice).[Section 9][Approved Code of Practice “ Confined Spaces](https://www.safework.sa.gov.au/workplaces/codes-of-practice) [Section 6] |
| * Any activities where systems have been put in place by the Faculty/Division/School/Branch, other than Fire Evacuation where contingencies/processes/equipment/SOP need to be tested for effectiveness. Examples may include:
* Emergency spill procedures for Hazardous Chemicals;
* Working in isolation;
* Personal threat situation (including duress systems)
* Medical emergency first aid response
* Fall arrest systems
* Confined space, first aid and rescue procedures
 | **All Faculties/Divisions/Schools/Branches****NOTE:****Where regular testing is included on the Risk Assessment and the checking of emergency/contingency arrangements is incorporated in the Safe Operating Procedure for the activity when it is conducted, then the activity does not need to be included on the SPE.** | Determined by the Faculty/Division School/Branch but based on risk. See HSW Handbook Chapter [Emergency Management](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/emergency-management-handbook-chapter) for further information. |
| * Schedule and monitor evacuation exercises for all University buildings in accordance with the Emergency Management Contract. (Please note that an evacuation summary report is provided by Service Delivery Branch and on-forwarded to the Faculty/Division Health and Safety Committees, by the HSW Team (HR Branch) on a quarterly basis for reference.)
 | **Service Delivery (Security)** | 2 exercises per year in accordance with the Emergency Management Contract |

**Appendix A (Page 2 of 6)**

|  |
| --- |
| **SPE: A GUIDE TO ACTIVITIES REQUIRED BY WHS LEGISLATION OR HSW HANDBOOK** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity to be scheduled** | **Relevant to the following Faculty/Division/School/Branch** | **Frequency** | **WHS Legislation** |
| **First Aid*** Complete a First aid assessment in accordance with the HSW Handbook Chapter [First Aid)](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/first-aid-handbook-chapter) and [Approved Code of Practice First Aid in the Workplace](https://www.safework.sa.gov.au/workplaces/codes-of-practice).
* Map the First Aiders for each building on each campus using the University’s First Aid register to ensure there is adequate coverage across each campus and First Aid officer ratios meet the requirements as outlined in the [Approved Code of Practice First Aid in the Workplace](https://www.safework.sa.gov.au/workplaces/codes-of-practice). (Noting that the ratio is total first aiders/total staff at each campus.)
* Provide a summary report to the Faculty/Division Health and Safety Committees (or local HSW Hub) and where gaps have been identified, submit recommendations for consideration in accordance with the HSW Handbook Chapter [First Aid)](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/first-aid-handbook-chapter).
 | * **All Faculties/Divisions/Schools/Branches**
* **Human Resources (HSW)**
* **Human Resources (HSW)**
 | AnnuallyAnnuallyAnnually | [WHS Act 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/A/WORK%20HEALTH%20AND%20SAFETY%20ACT%202012.aspx) [Section 19][WHS Regs 2012 (SA) [Section 42 and 43]](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx)[Approved Code of Practice First Aid in the Workplace](https://www.safework.sa.gov.au/workplaces/codes-of-practice) [Section 2 and 3] |
| **Workplace Monitoring (Safety Review)** | **All Faculties/Divisions/Schools/Branches**undertaking one or more tasks where the “inherent” risk rating has been assessed as “high” or “very high”. (The Inherent risk is the risk before the implementation of control measures.) | See HSW Handbook Chapter [Workplace Monitoring](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/workplace-monitoring-handbook-chapter) for further information regarding frequencies | [WHS Act 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/A/WORK%20HEALTH%20AND%20SAFETY%20ACT%202012.aspx) [Section 19 to 21, Section 27, Sections 32 - 38] [Approved Code of Practice “How to manage work health and safety risks”](https://www.safework.sa.gov.au/workplaces/codes-of-practice)[Section 4.3] |

**Appendix A (Page 3 of 6)**

|  |
| --- |
| **SPE: A GUIDE TO ACTIVITIES REQUIRED BY WHS LEGISLATION OR HSW HANDBOOK** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity to be scheduled** | **Relevant to the following Faculty/Division/School/Branch** | **Frequency** | **WHS Legislation** |
| **Training Plan Review** * Check and update the Training Plan(s) or equivalent tracking tool(s) for the Faculty/Division/School/Branch if managed centrally i.e. by the local HSW Team; or
* Email the person nominated by the Head of School/Branch to manage the Training Plan(s) to check and update the Training Plan(s)/Log Book/equivalent tracking tool

to ensure that Level 2 and Level 3 instruction/training:* has been completed by identified workers as required;
* has been recorded on the Training Plan/equivalent; and
* records are on file where required by the HSW Handbook chapter.
 | **Faculty/Division/School/Branch****Faculty/Branch HSW Team** | Determined by the Head of School/Branch, or the Faculty/Branch HSW Team where applicable.See [HSW Training Plan](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/hsw-training-plan-handbook-chapter) | [WHS Act 2012 (SA) [Section 19, 27]](https://www.legislation.sa.gov.au/LZ/C/A/WORK%20HEALTH%20AND%20SAFETY%20ACT%202012.aspx) [WHS Regs 2012 (SA) [Section 39]](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx)  |
| **Health and Safety Training**Include details of any Faculty/Division/School/Branch training sessions which have been set-up and/or co-ordinated by the Faculty/Division/ School/Branch. Examples may include proficiency based training on a particular activity, in-house First Aid training provided by a Registered Training Organisation) | **Faculties/Divisions/Schools/Branches that schedule and run their own training sessions in-house or wish to plan in advance to book staff for competency based training (if required).**  | See [HSW Training Plan](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/hsw-training-plan-handbook-chapter) for further information regarding frequencies | See above |

**Appendix A (Page 4 of 6)**

|  |
| --- |
| **SPE: A GUIDE TO ACTIVITIES REQUIRED BY WHS LEGISLATION OR HSW HANDBOOK** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity to be scheduled** | **Relevant to the following Faculty/Division/School/Branch** | **Frequency** | **WHS Legislation** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Noise and sound – audiometric testing** Schedule/arrange testing for relevant staff/workers(Note – the Training Plan can be used to monitor when testing is conducted.) | **All Faculty/Division/School/Branches where staff/workers are exposed to noise hazards and assessed as requiring audiometric testing under the WHS Legislation or the Risk Assessment.****Refer to the HSW Handbook Chapter****[Noise and Sound Safety Management](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/noise-sound-safety-management-handbook-chapter)** | Within 3 months of person commencing then at least every 2 years (See Noise and Sound Safety Management chapter of the [HSW Handbook](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/noise-sound-safety-management-handbook-chapter)) | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 58] |
| **Maintenance and inspection of Plant**Examples include but are not limited to: Registered Plant, Lifting equipment (e.g. gantries, hoists), presence sensing safeguarding systems, Emergency Showers.(Note: Where the maintenance/inspection of plant/equipment is managed and recorded under another system, to ensure it occurs, do not record it here.) | **All Faculties/Divisions/Schools/Branches that have plant/equipment requiring ongoing maintenance and inspection.** | In accordance with the manufacturer’s recommendations | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 213][Approved Code of Practice “Managing the Risks of Plant.”](https://www.safework.sa.gov.au/workplaces/codes-of-practice) |
| **Electrical Safety – Testing and tagging**(Note: Where the maintenance/inspection of plant/equipment is managed and recorded under another system, to ensure it occurs, do not record it here.) | **All Faculties/Divisions/Schools/Branches where relevant under HSW Handbook Chapter**[**Plant/Equipment Safety Management**](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/plant-equipment-safety-management-handbook-chapter) **Information sheet (Testing and Tagging)** | Refer to HSW Handbook Chapter[Plant/Equipment Safety Management](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/plant-equipment-safety-management-handbook-chapter) | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 150 and 151][Approved Code of Practice “Managing Electrical Risks in the workplace.”](https://www.safework.sa.gov.au/workplaces/codes-of-practice) |
| **Gas regulator and manifold scheduled maintenance**(Note: Where the maintenance/inspection of plant/equipment is managed and recorded under another system, to ensure it occurs, do not record it here.) | **All Faculties/Divisions/Schools/Branches who handle or store equipment with regulators, manifolds, hoses.** | **Regulators**:Overhaul every 3-5 years depending on application; 3, 6 and/or 12-monthly tests depending on application.**Manifolds**:Overhaul every 3-5 years depending on application; 3, 6 and/or 12-monthly tests depending on application.**Hoses**:Replace every 5-10 years depending on application; inspect regularly – frequency dependent on application.Refer to the [Plant/Equipment Safety Management](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/plant-equipment-safety-management-handbook-chapter) chapter of the HSW Handbook. | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 213][Approved Code of Practice “Managing the Risks of Plant.”](https://www.safework.sa.gov.au/workplaces/codes-of-practice) |

**Appendix A (Page 5 of 6)**

|  |
| --- |
| **SPE: A GUIDE ACTIVITIES REQUIRED BY WHS LEGISLATION OR HSW HANDBOOK** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity to be scheduled** | **Relevant to the following Faculty/Division/School/Branch** | **Frequency** | **WHS Legislation** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Hazardous Chemicals*** Check that the Chemical Register is up to date(Up to date register must be readily accessible to any emergency service)
 | **All Faculties/Divisions/Schools/Branches who handle or store Hazardous Chemicals****(Refer to HSW Handbook Chapter**[**Chemical Safety Management**](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/chemical-safety-management-handbook-chapter)**)** | Due December annually.  | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 344] WHS Regs 2012 (SA) [Schedule 7] WHS Regs 2012 (SA) [Section 346] |
| **Registrations**Examples may include:* Firearms
* University vehicles
* Radiation (equipment and premises)
 | * **All Faculties/Divisions/Schools/Branches who manage and control the item/vehicle/firearm**
* **All Faculties/Divisions/Schools/Branches**
* **Human Resources (HSW)**
 | Determined by the Faculty/Division/ School/Branch based on the expiry of each type of licence and registration | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 264 to 288D]WHS Regs 2012 (SA) [Schedule 5] |
| **Licences**Where there is a requirement to monitor licences. Examples may include* High Risk Work licences (e.g. work involving elevated platforms, scaffolding, rigging, dogging, personnel and materials hoists, forklifts, pressure equipment operation, cranes)
* Diving/Boating
* Controlled Substances (S8, S9)
* Radiation (eg equipment, location, people, waste management etc)
* Controlled Substances (S2, S3, S4, S7)
* Dangerous Goods (per Campus)
 | * **All Faculties/Divisions/Schools/Branches who manage/conduct the activity**
* **Schools who conduct diving/boating**
* **Schools who use the substance (Lab)**
* **Human Resources (HSW)**
* **Human Resources (HSW)**
* **Human Resources (HSW)**
 | Determined by the Faculty/Division/ School/Branch based on the expiry of each type of licence and registration. | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 81 to 112][WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Schedule 3] |

**Appendix A (Page 6 of 6)**

|  |
| --- |
| **SPE: A GUIDE ACTIVITIES REQUIRED BY WHS LEGISLATION OR HSW HANDBOOK** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity to be scheduled** | **Relevant to the following Faculty/Division/School/Branch** | **Frequency** | **WHS Legislation/****Relevant Legislation** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Health and Safety Committee meetings**  |  | Faculty/Division CommitteeQuarterly (minimum)In accordance with the [Terms of Reference](https://www.adelaide.edu.au/policies/3183/?dsn=policy.document;field=data;id=5402;m=view) | [WHS Act 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/A/WORK%20HEALTH%20AND%20SAFETY%20ACT%202012.aspx) [Section 78]  |
| * Faculty/Division Health and Safety Committee

Note – Where Faculties/Divisions convene an additional Health & Safety Committee the dates may be added to the SPE | **The Faculty/Division/School/Branch/area responsible for scheduling the Committee meetings, maintaining the committee minutes and providing evidence that the meeting was held. (i.e. website, Records Management system)** |
| **Health and Safety Representatives**Check that all health and safety representatives’ terms of office are current. Arrange for election if required in consultation with HR Branch HSW Team, in accordance with WHS Legislation | **Human Resources (HSW)** | Annually | [WHS Regs 2012 (SA)](https://www.legislation.sa.gov.au/LZ/C/R/Work%20Health%20and%20Safety%20Regulations%202012.aspx) [Section 18 to 21] |

|  |  |  |  |
| --- | --- | --- | --- |
| **Annual stock take of Fire-arms and ammunition** Conduct annual stock takes of School/Branch firearms and ammunition, using the annual firearms stock take proforma (HSW Handbook Chapter [Firearms Safety Management Appendix B](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/firearms-safety-management-handbook-chapter)) and attach to the Firearms Register. | **Schools/Branches where the Head of School/Branch has authorised the use of fire-arms.** | Submitted to the Associate Director, HSW - 1 December each year. | [Firearms Act 2015 (SA)](https://www.legislation.sa.gov.au/LZ/C/A/FIREARMS%20ACT%202015.aspx) |

|  |
| --- |
| **CLICK ON THE FOLLOWING LINKS TO ACCESS THE SPE TEMPLATES** **(1)** [**WORD VERSION**](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/schedule-of-programmable-events-handbook-chapter) **OR** [**(2) EXCEL VERSION**](https://www.adelaide.edu.au/hr/hsw/hsw-policy-handbook/schedule-of-programmable-events-handbook-chapter) |